This master should be used by designers working on Port of Portland construction projects and by designers working for PDX tenants (“Tenants”).  Usage notes highlight a few specific editing choices, however the entire section should be evaluated and edited to fit specific project needs.

# SECTION 356216 - STEEL PIPE PILES

## GENERAL

DESCRIPTION

This section describes the fabrication and installation, by driving, of steel pipe piling, including cut-offs and dowels.

“Driving piles” refers to both installation by vibratory hammers and traditional methods using impact hammers.  This section refers to both methods unless the context clearly refers to one method only.

RELATED WORK SPECIFIED ELSEWHERE

Section 031100, Concrete Formwork

Section 032000, Concrete Reinforcing

Section 033000, Cast-in-Place Concrete

Section 051200, Structural Steel Framing

REFERENCES

AISC:  American Institute of Steel Construction.

ASTM:  American Society for Testing and Materials.

ASTM A53: Standard Specification for Pipe, Steel, Black and Hot-Dipped, Zinc-Coated, Welded and Seamless

ASTM A252: Standard Specification for Welded and Seamless Steel Pipe Piles

ASTM A500: Standard Specification for Cold-Formed Welded and Seamless Carbon Steel Structural Tubing in Rounds and Shapes

ASTM A501: Standard Specification for Hot-Formed Welded and Seamless Carbon Steel Structural Tubing

ASTM A706: Standard Specification for Low-Alloy Steel Deformed and Plain Bars for Concrete Reinforcement

AWS:  American Welding Society.

AWS D1.1: Structural Welding Code – Steel

COP:  City of Portland

IBC:  International Building Code.

IBC Chapter 17: Structural Tests and Special Instructions

SUBMITTALS

Note reference to Attachment 1 below.  Delete if not included in contract.

At least two weeks prior to mobilization at the site, submit data fully describing all proposed pile installation equipment including hammers, rams, driving cushions, pile caps, and cap blocks to the Port.  See Attachment 1, Pile and Driving Equipment Data form.

Submit certification of yield strength and weldability of steel products by process acceptable to the Port, mill certificates of chemical and physical properties, or equivalent.

Submit pile driving template.

Prepare and submit to the Port full length installation records for each pile installed.  Submit records within 24 hours after installation is completed for the pile.  Include the following minimum information:

Final tip elevation.

Cut-off elevation.

Description of unusual installation behavior or conditions.

Pile material and dimensional properties.

Elevations at welded joints.

Other data which may be useful in evaluating the pile.

Submit prequalified welding procedure specification (WPS) for all welding processes.

Provide minimum 48-hour notification to the Port of any activity (i.e., crane heights, excessive noise and vibrations, etc.) that may potentially impact Port operations.

QUALITY ASSURANCE

The Port will provide special inspection as required by Chapter 17 of the IBC.

Welder Qualifications:  Qualify welders, welding processes, and procedures in accordance with AWS “Structural Welding Code” and City of Portland Bureau of Development Services.

DELIVERY, STORAGE, AND HANDLING

Deliver materials to the work site in such quantities and at such times to assure the continuity of pile driving operations in keeping with the project schedule.

Store piles in orderly groups above ground and blocked during storage to minimize possible distortion of members.  Piles exhibiting variations beyond tolerance limits will be considered distorted and may not be used in the work.

FIELD CONDITIONS

Protect existing structures from damage caused by pile driving operations.

## PRODUCTS

OPEN-END PIPE AND SPLICE SECTIONS

Pipe Piles:  Meet the requirements of ASTM A53, Grade B, Type E or S, Fy = 35 ksi; ASTM A501, welded, Fy = 36 ksi; ASTM A500, welded, Grade D, Fy = 36 ksi.

Piles installed with vibratory hammers shall be open-ended.

Steel Reinforcing:  ASTM A706, Grade 60, weldable.

Fabrication:  Provide backing bar and pile caps of the same steel as the piling.  Fasten to piles with welded connections as shown on the drawings.

Welds joining piles shall be complete penetration groove welds.

See Section 051200, Structural Steel Framing, for additional fabrication requirements.

PILE-DRIVING EQUIPMENT

Driving equipment shall be of a type generally used in standard pile-driving practice and shall be operated at the manufacturer’s specified rate to develop the required rated energy.  Drop hammers will not be allowed.

Verify the energy required to reach top elevation with the geotechnical engineer.

Impact hammers shall be steam, air, or diesel driven and shall develop a minimum rated energy of 24,000 foot-pounds per blow and no more than 33,000 foot-pounds per blow or as required to achieve the necessary pile tip penetration.  The Contractor shall be responsible for selecting driving equipment that will not cause damage to the piling or adjacent structures during driving.

Vibratory hammers shall be of sufficient size and energy to install piles to the required tip elevation.

Driving caps shall be capable of protecting pile head and providing uniform distribution of energy to pile head.

Change “water” to “ground” if work is on land.

Use fixed rigid type pile driver leads that will hold the pile firmly in position and alignment, and in axial alignment with the driving equipment.  Free-swinging, flying leads will not be permitted, except for batter piles.  Extend leads to within 2 feet of the elevation at which the pile enters the water.

## EXECUTION

PILE-DRIVING PLANT

Drive pipe piles with an impact or vibratory hammer which is capable of advancing the piles to the desired tip elevation without damage.  Hammers may be single-acting, double-acting, or differential; or a diesel hammer may be suitable subject to approval of the Port.  Open-ended pipe piles may also be installed with a vibratory type hammer.

Provide equipment of adequate size and capacity to handle, place, drive, and hold the piles to the required penetration and alignment.  This equipment shall be able to maintain the alignment of pile and hammer without damage to either.

Driving equipment shall be in good repair and operating condition and shall be capable of being operated as recommended by the manufacturer.

Maintain all pile-driving equipment in safe operating condition at all times.

Any equipment or method which results in regular or repeated damage to piles during driving, or is detrimental to the bearing capacity of piling already driven, will be rejected by the Port.

Perform pile driving operations within the constraints created by Port operations.

PILE INSTALLATION AND DRIVING CRITERIA

Locate each pile accurately in accordance with the drawings.  Reference cut-off elevation of each pile to bench marks established by the Port.

Mark each pile with horizontal lines at 1-foot intervals, and mark the number of feet from pile point at 5-foot intervals.  Place marks prior to the start of driving.  Marks and numbers shall be readily seen from a minimum distance of 15 feet.

Take care in the first 10 to 12 feet of pile penetration where foreign objects in the fill may be present.  Pre-excavate when utilities or other objects may be potential obstructions to pile driving.

Continuously drive each pile to tip elevation as shown on the drawings, and to satisfactory embedment and driving resistance as directed by the Port.

Drive piles to embedment lengths or blow counts that achieve pile capacity in accordance with the contract documents.

The Port reserves the right to modify driving criteria depending on the equipment used, field conditions encountered, and observations made during pile installation.

The Contractor will not be responsible for counting blows per foot.

Carefully maintain the center of gravity for each group of piles to conform to the locations shown on the drawings.

Carefully plumb the leads and the pile before driving.  Take care during driving to prevent and to correct any tendency of piles to twist or rotate.

Drive all mooring dolphin pipe piles using a fixed template furnished by the Contractor.  Submit template design for the Port’s approval.

Jetting for installation of piling is prohibited.

Avoid excessive driving, as established by the Port.

After cap plate is cut off, weld a watertight cap plate in place, square and level on top of the pile.  Provide steel reinforcing on top of piles as indicated.

Maintain a minimum distance to the first welded splice, a minimum length for pipe sections, and a maximum number of splices for each pile as directed by the Port.

TOLERANCES

Deviation of pile head of pipe piles under the pile cap may be 6 inches from plan position in any direction, and ± 1/4 inch from the cut-off elevation shown on the drawings.  At the Port’s option, additional driven piles may be added at no additional cost to the Port.

Piles out of tolerance will be rejected, and shall be removed and replaced with new piles.

Plumb piles shall not exceed a deviation from the vertical alignment of more than 1 inch in 10 feet.

Battered piles shall not exceed a deviation from the required batter alignment of more than 1 inch in 10 feet.

Piles exceeding these deviations may be pulled into position only upon prior approval by the Port.

Measure tolerances when piles are released from the driving template, unless the template is used to form the pile cap.

The Contractor shall employ a competent field person to:

Survey the location and alignment of each pile to verify that it meets contract requirements.  Submit field notes to the Port on the same day as the work.

Survey and verify the alignment of joined pile sections before and after driving.

WELDING

Fabricate accurately to lines and dimensions shown on the drawings.

Make no more than one field splice and one shop splice per pile unless permitted otherwise by the Port.  Splice piles by complete joint penetration weld.  Carefully align and hold pieces firm and concentric until welding is complete.  Provide backing bar (minimum 1/4 inch thick) for all splices.  Underwater welding for pile splicing is prohibited.  Splices shall develop the full strength of the pile in tension, bending, and bearing.

Workmanship and technique shall be of the same standard as for structural steel assembly.

PIPE PILE ASSEMBLY AND FIT-UP

Pipe pile assembly shall follow the applicable sections of AWS D1.1, Chapter 5, Fabrication, and as modified below.

Articles 5.22.1.1 through 5.22.3.1 shall be used as noted for butt joints.  Article 3.3.3 shall be modified as noted in the following:  In the second sentence, delete “…or 1/8 inch (3 mm), whichever….”; also delete the second to the last sentence, which reads, in part, “In correcting . . . in 12 inches (305 mm).”

Joint root offset shall not exceed 10 percent of the joined material thickness or 1/16 inch for butt joints landing on backing bars (Article 5.22.31).

All piling, piling assembly, and fit-up shall meet the requirements of ASTM A252 for welded and seamless pile, Article 12, Permissible Variations in Weights and Dimensions, Article 13, Straightness, and Article 14, Workmanship, Finish, and Appearance.

All joining sections shall be field-matched and marked for verification to minimize outside diameter differences and shall meet a maximum of 1/16 inch landing difference on each side (total of 1/8 inch).

No pressure tests are required for ASTM A53 pipe.

Measure and record pile assembly alignment according to ASTM A252, Article 14, Workmanship, Finish, and Appearance, and verified before calling for acceptance testing by the Port.  Check and record each joint according to ASTM A252 and AWS, Chapter 6.

Dents, gouges, or arc strikes in the piling greater than 1/8 inch shall be removed or repaired as required under AWS.  Pile deficiencies greater than 1/8 inch will be rejected and pipe shall be removed from the site and replaced by the Contractor at no additional cost to the Port.

Align field splices by means that will hold both the receiving end and adjoining end in concentric alignment without deflections due to pile dead load or construction techniques or equipment.  Take alignment measurements and record after tack welding and after final joining weld.  Any out-of-tolerance assembly will be rejected.  Remove sections and repair or replace sections and reassemble at no additional cost to the Port.  If misalignment of pile sections is found either by the Contractor’s inspection or the Port’s inspection, work will be stopped, the Contractor shall submit to the Port a work plan for correcting alignment and for eliminating future alignment problems, including equipment modifications, installation procedural changes, and labor practices before work may be started again.  The Port will not grant either a contract time extension or additional compensation for the Contractor’s delays in production due to pile and joint misalignment.

CUTTING OF PILES

Cut off tops of piles square with the pile axis and at the elevations indicated.

OBSTRUCTIONS DURING DRIVING

Change “mud line” in A below if work is on land.

Minor obstructions are obstructions encountered within 10 feet of mud line.  Should an obstruction at any greater depth stop the advancement of a pile, it will still be classed as a minor obstruction unless the same obstruction also stops the advancement of a second pile adjacent to the first.  No extra payment will be made for the removal of a minor obstruction.

Major obstructions are obstructions not classed as minor.  Additional work directed by the Port to acceptably complete the installation of the pile after encountering a major obstruction will be considered extra work under the terms of the General Conditions.  A major obstruction will be determined as such after engineering review of pertinent field conditions and driving data.  In addition, the Port reserves the right to require the Contractor to demonstrate, at no additional cost to the Port, that the pile cannot be driven by conventional means.

REJECTED PILES

The Contractor will not be granted time extensions or additional compensation for work that fails inspection and is rejected.

Perform associated remedial work necessary to acceptably complete the pile installation as required by the applicable code.  Such remedial work may include, but is not limited to, installation of additional piling, construction of additional framing, and removal and reinstallation of piling.  No extra payment or time extensions will be made for remedial work required to acceptably complete pile installation.

No payment or time extension for furnishing, driving, cut-off, or extending will be made for any piling installed by the order of the Port to correct or replace piles which are out of tolerance, misaligned, broken, incorrectly oriented, or otherwise violate these specifications, or for removing and reinstalling any piling incorrectly installed.

END OF SECTION 356216