## Instructions
Electrical Circuit Request Form (ECR) Instructions
1. | This form is to be completed by anyone (Engineering, Maintenance, Engineering Consultants, Port Tenants, etc.) desiring to add or demo electrical circuit(s) and/or electrical equipment to any of the Port's electrical distribution systems. This includes all electrical systems owned and maintained by the Port.
2. | Save the form and then e-mail the completed request form to ECR@portofportland.com.
3. | The request will be reviewed by Port Engineering to determine if adequate capacity is available for proposed additional loads identified on the ECR form.
4. | The processed form will be returned to the requestor with approval or denial and reason for denial.
5. | Port Engineering will maintain the request in their pending file to await completion of project.
6. | If significant changes are needed, then requestor shall re-submit the ECR with proposed changes noted. Minor changes approved by Port inspectors do not require re-submission, but should be noted and submitted with completion notification described in next step.
7. | After completion of the project and sign-off by Port electrical inspectors, requestor shall inform Port Engineering that project is complete. This may be done by sending another e-mail to ECR@portofportland.com stating project name and number with a message that the project is complete.
Also include details of any changes to the original design described in the approved ECR request form.
8. | Port Engineering will then move the pending ECR into a complete file and update panel schedules, one-lines, and the Easypower file.

## ECR Form
ELECTRICAL CIRCUIT REQUEST (ECR) FORM |  |  | See instruction tab below.
[6 empty] | Shaded = |  | Examples.
Complete as Excel spreadsheet. | [5 empty] | ( i.e. ) = |  | Sample data. Replace with actual data.
Submit via E-mail to: |  | ECR@portofportland.com |  |  |  | Shaded = |  | Auto calculated cell (do not enter data).
If you do not have E-mail, deliver hard copy to Port of Portland, Attn: David Powell. | [5 empty] | BEST PRINTED ON LEGAL OR EXECUTIVE SIZED PAPER.
REQUESTOR INFORMATION: |  |  |  | PROJECT INFORMATION / LOAD LOCATION | [9 empty] | PORT REVIEW INFORMATION (For Port use only)
| REQ. DATE: |  |  |  | PROJECT: | (i.e. North Food Court) | [8 empty] | VERIFIED BY:
| REQESTOR'S NAME |  |  |  | FACILITY: | (i.e. PDX) | [8 empty] | DATE:
| COMPANY: |  |  |  | AREA: | (i.e. Concourse D) | [8 empty] | APPROVED BY:
| PHONE: |  |  |  | FLOOR: | (i.e. Enplaning) | [8 empty] | DATE:
| VERIFIED BY: |  |  |  | GRID: | (i.e. 1A - near intersection of gridlines 1 and A) | [8 empty] | EASYPOWER:
CHECKED BY:
PANELBOARD PROJECT DESCRIPTION
| PANELBOARD MAKE & TYPE: | (i.e. Square D, Type NF)
| PANEL ID: | (i.e. 2D2E-C6AB-A)
| PANEL IER: | (i.e. 25KA)
| SHORT CIRCUIT X/R: | (i.e. 5.2)
| PANEL MAIN BREAKER: | (i.e. Spectra SKLA, 800A)
| PANEL MAIN BREAKER SETTING: | (i.e. LTPU=1, INST=MIN) | Load | [5 empty] | (if applicable) |  | Phase |  | Neutral |  | Ground
|  |  | Location | Circuit Breaker |  | Load |  |  | New Breaker |  | Conductors |  | Conductors |  | Conductors |  | Raceway |  |  |  | Voltage
Add / Del | Req Ckt | New/Old Load Description | Level, Grid | Amps | Poles | VA/ Ø | Volts | Amps | Setting | Comments | Qty/Ph/Set | Size | Qty /Set | Size | Qty /Set | Size | Sets | Type | Size (in) | Length | Drop
Add | 36,38,40 | New panel 2P2E-D5AB-A | Lvl 1, AB/06 | 100 | 3 | 21615.9941 | 480 | 78 | INST=MIN | Utilize Ex Bkr | 1 | 2 | 1 | 2 | 1 | 8 | 1 | EMT | 1.25 | 10 | 3.608%
Delete | 1,3,5 | Ex AHU-1 | Roof, C8/AB | 50 | 3 | 37440 | 480 | 25 |  | Bke spared | [10 empty] | 0%
add | [5 empty] | 0 | [14 empty] | #DIV/0!
[6 empty] | 0 | [14 empty] | #DIV/0!
[6 empty] | 0 | [14 empty] | #DIV/0!
[6 empty] | 0 | [14 empty] | #DIV/0!
[6 empty] | 0 | [14 empty] | #DIV/0!
[6 empty] | 0 | [14 empty] | #DIV/0!
[6 empty] | 0 | [14 empty] | #DIV/0!
[6 empty] | 0 | [14 empty] | #DIV/0!
COMMENTS
ENGINEERING DOCUMENTATION
|  |  | LOADING | Ph A | Ph B | Ph C |  |  |  |  | Ph A | Ph B | Ph C
|  |  | SUMMARY | Amps | Amps | Amps |  |  |  |  | Amps | Amps | Amps
|  |  | Existing Load | [6 empty] | New Load
|  |  | Existing Load | [6 empty] | New Load
|  |  | Existing Load | [6 empty] | New Load
|  |  | Existing Load | [6 empty] | New Load
|  |  | Existing Load | [6 empty] | Total New Load | 0 | 0 | 0
|  |  | Existing Load | [6 empty] | Total Load | 0 | 0 | 0
|  |  | Existing Load | [6 empty] | Panel/Transformer Capacity
|  |  | Existing Load | [6 empty] | Panel/Transformer Remaining Capacity | 0 | 0 | 0
|  |  | Total Existing Load | 0 | 0 | 0 |  |  |  | Percent Remaining Capacity | #DIV/0! | #DIV/0! | #DIV/0!